THREE PART SHORT FORM SPECIFICATIONS (CSI)

**AMPLEX ALUMINUM ROLLING GRILLE**

1. **GENERAL**
   1. SECTION INCLUDES

\*\* NOTE TO SPECIFIER \*\* Select from the following list. Delete items not required for project.

* + 1. Rolling Grille – Overhead Rolling Door and Grille
    2. Preparation of door opening, structural or miscellaneous ironwork, access panels, electrical wiring, conduit, disconnect switches, drywall and finish painting are in the scope of the work of other sections or trades.
  1. WARRANTY

\*\* NOTE TO SPECIFIER \*\* Warranty covers products installed by a recognized or approved installer and covers reasonable labor costs performed during regular business hours. Maintenance must be completed and followed as laid out in the Owners Manual.

* + 1. The standard warranty shall cover the repair or replacement of defective components or assembly labour for a period of one year or specified cycles following the installation of the grille.

1. **PRODUCTS**
   1. MANUFACTURERS
      1. Acceptable Manufacturer: Amstel Manufacturing (1993) Inc

128 Centre Street East, Richmond Hill, Ontario. L4C 1A6. Canada.

Ph. 1-800-663-6206 or 905-508-0855 Fx. 1-866-525-1304 or 905-508-8487

E. [projects@amstel-doors.com](mailto:projects@amstel-doors.com)

W. [www.amstel-doors.com](http://www.amstel-doors.com/).

\*\* NOTE TO SPECIFIER \*\* Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

* + 1. Substitute products by the following manufacturers are accepted:
       1. McKinlay Door Sales
    2. Requests for substitutions will be considered in accordance with provisions of Section 01 60 00.
  1. MATERIALS

\*\* NOTE TO SPECIFIER \*\* Select from the following list of Sliding Security Grille models. Delete models not used.

* + 1. Amplex Rolling Grille
       1. Curtain:
          1. Construct of interlocking polycarbonate sections 0.1875” (4.76 mm) thick by various incremental heights calculated based on the overall Rolling Grille height.
          2. Polycarbonate sections are hinged together by an extruded aluminum hinge retainer 1.1” (28 mm) high and 0.69” (17.5 mm) thick.
          3. PVC injection molded end locks 0.23” (5.8 mm) thick hold together the Polycarbonate sections and aluminum hinge retainers.
       2. Aluminum is to be 6063 aluminum alloy with T-5 temper conforming to ASTM B 221.
       3. Aluminum Bottom Bar:
          1. Standard: Bell Bottom Bar. Members are to be horizontal bottom bars of aluminum extrusion shaped like a bell. The base of the bottom bar is 4” (101.6 mm) in width. The height of the bottom bar is 3.25” (82.5 mm) and 0.08” (2 mm) wall thickness. The two-piece bottom bar design creates a removeable base to service locking components.
          2. Option: Econo Bottom Bar. Members are to be horizontal bottom bars of tubular aluminum extrusion 2” (51 mm) in width and 3.25” (82.5 mm) in height and 0.10” (2.5 mm) wall thickness
       4. Guides:
          1. Members are to be 1.39” (35 mm) wide by 2-1/2” (63.5 mm) deep and 1/8” (3.17 mm) thick extruded aluminum guide sections with built-in upset shoulders to provide curtain retention. Each guide to be fabricated with a bell mouth to provide smooth curtain operation.
          2. Mount steel stoppers to end plate to prevent roll over and travel above finished bulkhead. Guides shall be fitted with a rigid P.V.C. strip to ensure smooth and quiet operation.
          3. Structural steel support to have minimum 3/16” (4.75 mm) thickness. Fasten guides to steel angles, HSS supports or HSS spacers with concealed fasteners at max. 2’-0” (610 mm) O.C.
       5. Counterbalance: Construct of standard steel pipe of adequate diameter to prevent deflection exceeding 0.03” per foot (2.5 mm per meter) of door width. Pipe barrel shall enclose oil tempered helical torsion springs of a design to ensure proper counterbalancing. Spring tension adjustment shall be by means of an adjusting wheel and pin on the outside of the bracket plate.
       6. Bracket Plates: Bracket Plates: Construct of minimum 3/16” (4.75 mm) thick steel plate, primer painted “gray”.
       7. Hood:
          1. Construct of 0.040” (1 mm) clear anodized aluminum sheet, press-bent to form suitable coil enclosure.
          2. Hoods and fascias will have maximum length of 144” (3658 mm) per section. Steel channel fabricated hood supports will be provided for hoods and fascias that exceed 144” (3658 mm) in width. In such cases the client is responsible for suitable support within the bulkhead.
          3. Hoods are not furnished for doors where coil is located above ceiling. Fascias will have ¾” (19 mm) plywood backing board supplied.
       8. Factory Finishes: use letter suffix to denote required door finish.
          1. Standard: AA Clear Anodized, 0.0004 inch (10 micron) clear anodizing.
          2. Options: CC Aluminum to be painted RAL colour or match colour sampled.
       9. Operation:
          1. Manufacturer’s standard is a jackshaft motor operation 120v 1ph aux hand crank. Additional voltages of 208v 3ph and 575v 3ph are available. Operator horsepower is determined based on the size of the Rolling Grille.

Standard motor control is a three-button flush mount push station with optional of key switch control.

Standard motor wiring is set to constant pressure close and momentary open. If switching to momentary open and momentary close, a safety device such as photo-eyes or safety edge is required.

* + - * 1. Operational Cycles:

Standard: 30, 000 Cycles

Option: 50,000 Cycles

\*\* NOTE TO SPECIFIER \*\* Select one the following standard factory finishes. Delete the finishes not required.

1. **EXECUTION**
   1. PREPARATION & EXAMINATION
      1. Site preparations are to be detailed by approved shop drawings. Verify opening dimensions by actual site measurements.
      2. Contractor shall make structural or other preparation of the opening to receive guides and grille, provide finish or trim to the opening.
   2. INSTALLATION
      1. Install in accordance with manufacturer's instructions.
      2. Structural steel support, where provided by Amstel, is not self-supporting and must be adequately secured during installation for proper and safe operation of the door.

* 1. MAINTENANCE
     1. The guides should be kept clean of dirt, particularly in the area of the bottom of the guide pocket where dust and dirt can accumulate.
     2. On both anodized aluminum and stainless steel curtains, the curtains should be cleaned at least once a year with a damp rag and a non-abrasive cleaner.
     3. For cleaning of finished steel curtains consult finish manufacturer for recommendations.
     4. It is recommended that the grille curtain balance should be checked on a yearly basis and the tension adjusted if necessary.
     5. For motorized or crank operated grilles the chain should be lubricated four times a year.

**END OF SECTION**

*SPECIFICATIONS SUBJECT TO CHANGE WITHOUT NOTICE*